## Slide 1
SmartSample
CommandCenter
Stage Manager
Managers Container
Imaging Manager
Sources Manager
Experiment Manager
Database Manager
SmartImage
Edit
Autofocus
QR
Visualize
Source Modules
Stage Modules
Imaging Module
Experiment Module
Database Modules
Driver Modules
Optional
Custom
App. Class
Plural modules allow for any number in lateral direction
Application
Logger

## Slide 2: Saving Images/Experiments
Loaded autosave modules are saved after every snapshot, but not on save button.
Loaded modules that have autosave set to false are only saved on save button.
Before the data struct is passed to the database module, if git is present, it will add a struct element called “GitData” which specifies branch, commit id, remote repo, and err if uncommitted files.
Images
  SmartImage manages active images to integrate with stage and imager ROI.
  Upon save, the info part of the SmartImage is passed to the Database module.
  The fields of the struct (this is done in SmartImage):
    Image (the data array)
    stagePos (the global location of the stage when taken or NaN if no stage was used).
    Stage (cell array of stages as strings that were used when taken)
    realPos (the real position on the sample if QR codes are used)
    ROI (the x and y information of the image when taken)
    ModuleInfo – a structure with all the public fields of the module used to acquire the image (ignores objects).
Experiments
  CommandCenter queries your experiment module for data after an experiment finishes without being aborted. Whatever is returned from this function call is passed to the database module. All important parameters should be included in the structure returned by your module.

## Slide 3: A few features
Stage visualization
  The stage visualizer opens a new figure with a 3D model showing each of your stage bounds, and the current position. The semi-transparent plane shows current z plane.
  The camera will always be trained on the current position. You can rotate the field of view by dragging.
  You can zoom by selcting the zoom button and dragging up or down.
  Provides real-position updates at 10 fps.
SmartImage
  If the image was taken with the current stack of stages:
    Double click to jog the active stage to clicked position.
  Right click to pop image out or adjust brightness/contrast.
  Click on part of the ROI to get a context menu that allows you to change some properties of it.
    This also allows you to have the ROI be relative to the coordiantes of the current image, or reflect the actual position it is currently set to.

## Slide 4: Manager Technical Info (home of modules)
Public Properties
  Modules: cell array of loaded module objects.
  Active_module: handle to actively selected module in GUI
Under the Hood Properties
  Single or many modules allowed
  Many handles to GUI elements, categorized to important groups.
  Handful of GUI elements “frozen_state”
  Many listeners making sure consistency is maintained at all times.
Events (Observable properties)
  Modules has been set
  Active_module has been modfied
Methods
  Getting/finding modules by string
  Enable/disable GUI elements
  Finding modules in folders
  Creating/destroying modules and checking upon creating for correctness

## Slide 5: The Singleton Class
All module parents are members of the singleton class, thus all of your classes inherit the singleton class as well.
It walks through the stack on creation to find its child and does some tests to ensure some singleton properties.
There are two ways to implement your class. One way is to ensure only one instance at all times. The other, is to give each instance an singleton_id, and ensure that only one singleton_id exists at all times.
  Using a singleton_id requires creation with an argument. This will only work for driver modules.
See examples on next slide.
  mlock is necessary to keep that function in memory (so Persistent works correctly). The side-effect is that it keeps the whole file in memory. A superclass destructor attempts to remove the locked file from memory upon destroying, but this doesn’t work all of the time.
    If you would like to change something while CommandCenter is running, you have two options. You could uncheck and then recheck the module to hopefully destroy and re-create it. Or, move the instnace function to a separate file using the @class folder notation. You will need to specify the sginature of the functino in the static methods portion of the code still! You can also separate other functions in this manner and work on them without having to reload the module.

## Slide 6
Method 1 (No singleton_id)
methods(Access=protected)
function obj = Class()
...
end
end
methods(Static)
function obj = instance()
mlock;
persistent Object
if isempty(Object) || ~isvalid(Object)
Object = Class();
end
obj = Object;
end
end
methods
...
end
Method 2 (With singleton_id)
methods(Access=protected)
function obj = Class(id)
...
end
end
methods(Static)
function obj = instance(id)
mlock;
persistent Objects
if isempty(Objects)
Objects = Class.empty(1,0);
end
for i = 1:numel(Objects)
if isvalid(Objects(i))%%isequal(id,Objects(i).singleton_id)
obj = Objects(i);
return
end
end
obj = Class(id);
obj.singleton_id = id;
Objects(end+1) = obj;
end
end
methods
...
end
Important, so you can’t accidentally call this from the command line. Not private, so we can still work with this as a superclass.
Objects persists between function calls
Keeps this file in memory.

## Slide 7: Abstract Module Classes
All module classes are Singleton (only drivers should invoke singleton_id)
These are the parents of all modules you use
    Experiment Imaging
    Database Sources
    Stages Drivers
They will do some under-the-hood stuff that all modules of that type should be doing, so you don’t have to worry about that.
    For example, the Imaging module takes care of creating the calibration property and loading/saving it upon creation/destruction.
They specify abstract properties and methods.
    Your module classes must create these methods, or an error will occur on creation.
    They must have the same Access permissions as specified in abstract classes. This is mainly only important when it comes to the SetObservable permission, so CommandCenter can monitor that property.
To hide the module from the GUI, make sure the filename ends with “_invisible” or has an invisible constant property that is not false (can be empty).
Note: module-specific data is saved in prefs using the full package explicit name, where periods are replaced by underscores. You can make nested packages within the module package folders.

## Slide 8: Module Custom GUI Settings and long-term memory
Every module has one additional method:
  settings(obj,panelH)
    panelH is the handle to a panel object that is checked and rendered by CommandCenter.
    You should add any GUI elements that you want to it. Their callbacks should live in the module, and be callable by an outside source (e.g. don’t make Access=private).
      If the callback goes to a property object method, it will not work. Just wrap that method in the module with the settings.
Every module has an optional property “prefs”. If defined, upon destruction, it will save all the class properties that are listed in “prefs”. Note, the properties listed must be public (they can be hidden though).
  prefs can be loaded anytime by calling obj.loadPrefs. This should probably be done in the constructor.
  Errors will be supressed to warnings.
All modules have a protected logger property. This allows users to log custom events if desired. Note, managers do some logging as well, so it might be redundant – one exception is the stage manager, which does not do any logging of movements.

## Slide 9: Modules Settings (Cont.)
This method is defined in the Base.Module class which is inherited. The user can certainly overwrite it to provide more custom functionality. It can also be called and will return handles.
The other option is to use the default functionality (note any prefs used have to be accessible outside the class):
  This will look for prefs, but can be overridden by show_prefs. This is the order they will be displayed as well.
  The name in the GUI will be the name of property with underscores replaced as spaces.
  If a default value is specified, it will try and choose the best UI input type
  If no default value is specified, it will use a string. Knowing this, you can use the set.property method to cast to appropriate type.
  If the default value is a cell array – it will assume this means multiple choice. If no choice has been selected when settings are initialized, it will default to first value.
  If the default value is a function handle – it will assume this means multiple choice. The function will be called to get the options. This function should take no inputs, and return a cell array with char/numeric.
  It will use a generic callback that tries to set the property with the value in the input field.
  Listeners will then update the GUI to the value actually set. set.property methods can be used to validate input or set property of other objects. NOTE: this also updates the GUI with ANY modification of these parameters.
    If a property has a set.method to update a different object’s property, the USER should setup a listener to this property as well to keep up to date. See updateprop.m to make this easier even (callback to streamline).
  If output is requested, it will return the handle to the panel returned by Base.uicontrolgroup.
  TIP: make sure you use the set.property methods that MATLAB provides to clean input and assert correct formatting!
  TIP: if you want your own callbacks, you can overwrite the settings method, call the super method then change the callbacks. Look at Base.uicontrolgroup for details.

## Slide 10
Imaging.test
Drivers.test
Base.uicontrolgroup
CommandCenter
Core
GUI
listener
updateprop
Listener callback
Trigger through PostSet
Destroyed when settings destroyed
Handle
Top Level Diagram
Settings Default Workflow (Example)

## Slide 11
Imaging.test
Modules.Driver
Base.Module
Drivers.test (not all shown)
Modules.Imaging
Base.uicontrolgroup
CommandCenter
Core
GUI
listener
Inheritance
updateprop
Listener callback
Destroyed when settings destroyed
Handle
Detailed Diagram
Arrows leaving module of interest (Imaging.test) are the only ones users need to worry about

## Slide 12: Experiment Module
Abstract Methods
  run(obj,statusH,managers,axesH)
    statusH is the handle to a text object, so you can update what your experiment is doing. Note, if you make a custom one and use the same title, it will replace this one. The title is formatted as: sprintf(‘%s running’,class(module)).
    managers is the ManagerContainer class that wraps all of the manager types. It is recommended that this is used to control stage and camera.
    axesH is the handle to the data axes of CommandCenter.
  abort(obj)
    This should abort the currently executing experiment
  data = GetData(obj,stage,imager)
    This should return some data object/structure/whatever to be saved by the database module(s).
    Stage and Imager correspond to the managers. Nothing should be set with these managers, only read if desired.
    Note some Database modules might look for specific fields here to save correctly!
“save_request” event. Fire this when you want to force a save during an experiment run.
    CommandCenter will first go through all autosave modules, then all manual save modules.
Analysis
    This can be done in a few ways. You could implement your own analysis button in the custom area, or you could have your run method do it at the end.
    In terms of saving, nothing changes. Your analysis should directly modify your data object, so that when you save, it includes the analysis. Your database modules could look for certain things to see if there is an analysis.

## Slide 13: Imaging Module
Creates/loads/saves calibration property. This is set by CommandCenter upon calibration.
Abstract properties
  ROI (SetObservable) – current region of interest in format [xMin xMax; yMin yMax]. CommandCenter adjusts for calibration.
  resolution (SetObservable) – current resolution (num pixels in x and y) in format [x y]
  continuous (SetObservable) – boolean specifiying if continous acquisition is active. Don’t use a get.continuous method here!
Abstract methods
  metric = focus(obj,Managers)
    Managers is the handle to the managerContainer where you can find the stage manager or any other one you may need. Return peak metric value.
  Im_info = snap(obj,imHandle)
    Take snapshot, and populate cdata of imHandle. Note, if you make a custom modal figure and use the same title as the manager, it will replace it. The title is formatted as: ‘ImagingManager’.
  startVideo(obj,imHandle)
    Begin acquring continous images, and update the cdata of imHandle.
    This function should return for best performance, but it should also work if it is an infinite loop waiting for the stopVideo
  stopVideo(obj)
Properties that can be altered (not recreated)
  uses_stage – (default is ‘’). This is useful if your stage is used to scan for your imaging module. In this case, the location before scanning shouldn’t be stored in the image struct because the ROI has that info. Also will use the same calibration on your imaging device and stage. Make sure it is the right name of the stage!

## Slide 14: Database Module
Abstract Properties
  autosave
    If set to true, CommandCenter will call after every image is acquired and every experiment finishes without an abort. These will not be called from the save button.
    If false, CommandCenter will only call from the save button.
    You are free to make this option configurable in the settings method; CommandCenter will check everytime.
Abstract Methods
  SaveIm and SaveExp – the first argument is the data.
    Because CommandCenter does not deal with storing the data, and queries the active_module for it upon save, you should be aware that changing the active module before you save will cause unexpected outcomes!
    There is one additional argument at the end, and that is the handle to CommandCenter axis. I can not stop you from changing something there, but I highly discourage it! Only use it to duplicate your own image if you want.

## Slide 15: Sources Module
Abstract Properties
  source_on (SetAccess=private, SetObservable)
    This should reflect the current state of the source. DO NOT use a get.source_on method for this. Set in on and off methods. Some devices will fire an event, in which case you can make a listener in the module that sets this property. You could also make a timer object that checks periodically with the device.
Abstract Methods
  on(obj)
  off(obj)

## Slide 16: Stage Module
Creates/loads/saves calibration property. This is set by CommandCenter upon calibration.
Abstract Properties
  position (SetAccess=private) – Current position of stage. Typically a good idea to use a get.position method here! Command Center does not track this.
  Moving (SetAccess=private,SetObservable) – This is what CommandCenter tracks to determine updates in position! Do not use a get.Moving method here, or CommandCenter probably will never update the position.
  xRange (Constant) – range of x axis in um
  yRange (Constant) – range of y axis in um
  zRange (Constant) – range of z axis in um [0 is totally fine]
Abstract Methods
  move(obj,x,y,z)
  home(obj)
  abort(obj,immediate) – immediate is a boolean. Some stages have a “nice” abort where they maintain their position knowledge and a forcefull abort where that is lost. If you don’t implement both, that is fine, but keep in mind the GUI reflects two levels of aborting.
If this happens to be a galvo or something used to also take an image, it will have a calibration that is used by CommandCenter (the same as the imaging calibration).
  CAUTION here. You should call the CommandCenter version of moving stage so this calibration is never missed.

## Slide 17: Driver Module
Anything goes!
The setting method is created in the parent class, simply because it isn’t used in CommandCenter.
Notes
  Don’t make that class be a superclass of another driver module. Unexpected behavior can happen depending how your singleton class is implemented.
  If driver A requires driver B, call the singleton creator of driver B in driver A’s creation method
methods(Access=private)
function obj = driverA()
obj.driverB = driverB.instance(singleton_id);
end
end

## Slide 18: Notes
To make new versions, it is not good to make a subclass. Change the class directly, and use commits with GIT to manage versions. Rename the file to V2 if you really desire, but don’t have V2 inherit the old class!